## Slide 1: Readout and Lock-In
Jonathan Hoh
3/4/2021

## Slide 2: The Road to Digital Lock-in
Understanding the System
Design Software Simulation
Create DSP simulation
Generate Bitstream
Upload and Test

## Slide 3: Part 1: Software Sim

## Slide 4: Software Simulation Diagram

## Slide 5: Software Simulation Prototype
Noiseless Simulation

## Slide 6: Software Simulation Prototype
Noisy Simulation

## Slide 7: Software Simulation Prototype
Throw in some significant pink noise for good measure (I may have gone overboard)

## Slide 8: Full Scale Simulation
ADC clock = 2.5 GHz
FPGA clock = 250 MHz
LO frequency = 0.55 THz
Source frequency = 0.5498 THz
IF frequency = 200 MHz
Chop frequency = 100 KHz
FFT length = 1024
Run time = 0.3 seconds

## Slide 9: Full Scale Simulation
Mixed waveform and FFT
Centered at IF frequency

## Slide 10: Full Scale Simulation
Time stream extraction (and frequency information)
Centered at chop frequency

## Slide 11: Full Scale Simulation
Mixing to DC and power level integration

## Slide 12: Full Scale Simulation
Phase-tweaked and integrated power levels
On-peak bin
Off-peak bin

## Slide 13: Part 2: Firmware Development

## Slide 14: Firmware Block Designs
Simple Overview

## Slide 15: Firmware Block Designs
Parallel Pathing
Current design takes magnitude before accumulation stage
Switch

## Slide 16: Firmware Block Designs
Accumulator/Integrator

## Slide 17: DSP Blocks
Complex Multiplier

## Slide 18: DSP Blocks
Quadrature Wave Generator

## Slide 19: DSP Blocks
Polyphase Filter Bank
(Design copied from BLAST-TNG firmware)

## Slide 20: DSP Blocks
Vector Accumulator

## Slide 21: Firmware Simulation

## Slide 22: Simulation Results
Simulated Quadrature Inputs
2x parallel due to MUSIC ADC
Will be 8x in full-scale
Controllable during sims

## Slide 23: PFB/IQ Mixer test
PFB outputs I and Q
Mixer output after identity mix

## Slide 24: Magnitude Test
Positive and periodic, all we can ask for

## Slide 25: Next Step: Compiled on FPGA
Fully testing/simulating conditions of experiment are impossible
Tests completed prove validity of all parts individually
Physical testing requires new firmware version that can compile
Once ROACH2 is available, bitstream will be uploaded
After lab test, expand to 8x parallel and test
Ready for telescope!

## Slide 26: Compileable Firmware V1
Simulation components removed
Replaced with GPIO pins
Mux switches with external control in order to continue identity mixing
MUSIC ADC block with 2x parallel

## Slide 27: Compileable Firmware V2
Switched order of lock-in mixing and magnitude
Significantly higher bit growth

## Slide 28: Accumulation Plot for V2
Better SNR compared to V1
Need to take time to compare the two designs
Specify exactly when and how many bits need to be removed to fit in memory block

## Slide 29: ASIAA 5G ADC

## Slide 30: Simulation Results

## Slide 31: Actual Results from Compiled Firmware

## Slide 32: Odd Data Readings

## Slide 33: The Debugging Rabbithole

## Slide 34: The Debugging Rabbithole

## Slide 35: Ugh

## Slide 36: Digging out of the Rabbithole
Priorities
  Make sure that there is a fully functioning firmware for 512 Msps ADC
  Set up waveform generator for FM instead of AM
  Once working comfortably, revisit 5 Gsps ADC